## List1
Participant's data form on a PT 32/6A Proficiency Test
Object of PT 32/6A
Determination of C, Mn, Si, P, S, Cu, Cr, Ni, Al, Mo, W, V, Ti, Co, Sn, B, Ca, Nb, Zr, Zn, N in alloy steel ~ (C < 0.06%; Mn < 1.9%; Si < 0.5%; P < 0.04%; S < 0.008%; Cu < 0.16%; Cr < 26%; Ni < 21%; Al < 0.01%; Mo < 0.23%; W < 0.05%; V < 0.19%; Ti < 0.01%; Co < 0.35%; Sn < 0.01%; B < 0.006%; Ca < 0.002%; Nb < 0.03%; Zr < 0.02%; Zn < 0.03%; N < 0.03%) by Atomic Emission and X-Ray Fluorescence spectrometries on a plane of solid sample or by validated methods of analysis from steel chips/crushed sample.
Time of PT 32/6A: September - October 2024 |  |  |  | PT deadline: 31st October 2024
Test participant
Working place:
Address:
Phone/fax:
E-mail:
Date of sample receipt :
Date of analysis:
Name and signature of analyst:
Name of supervisor responsible for the results validation (stated in certificate):
Date and signature: |  |  |  | Laboratory stamp:
An integral part of this PT 32/6A data form are methodical instructions with possible participant´s comments and tabulated results. The results will be processed under a code number only so the participant´s identity may not be disclosed.
The data form PT 32/6A and PT programme (including time schedule) is also available online for download at this link: https://www.spl-labmat.cz/en/proficiency-testing
Please send us this xlsx file with data to our e-mail: info@spl-labmat.cz
In order to submit the experiment results it suffices to fill the required data and measurements in the provided MS excel file and send it via email (it is not necessary to send them via regular mail or scan the documents). The preset pagination in the file allows for smooth print (ctrl+p)
Methodical instructions for PT 32/6A participants
Prior to analysis of a PT 32/6A sample please the calibration should be validated by the regular procedure as per the laboratory Q. A. instructions.
Please identify a main or prevailing RM used for the calibration:
List the elements, for which a correction was applied:
Instruction to the analysis
Fill the results of five parallel determinations in the tables of the data forml*. The number of digits should comply with that in the approximate values indicated in the top of tables. *If more than one technique is applied (AES and XRF, wet-way analysis), please give the particular sets of results in separed copies of the protocol. Each participant will be assigned his code number for each method applied. The same principle may be used for stable and mobile instrument.
Analytical instrument:
Table of analysis results of PT 32/6A sample
| Element | Rounding and approx. chem. composition | 1. | 2. | 3. | 4. | 5. | Method of analysis | Method of analysis for individual elements
| C | (< 0.0600%)
| Mn | (< 1.900%)
| Si | (< 0.500%)
| P | (< 0.0400%)
| S | (< 0.0080%)
| Cu | (< 0.160%)
| Cr | (< 26.00%)
| Ni | (< 21.00%)
| Al | (< 0.0100%)
| Mo | (< 0.230%)
| W | (< 0.050%)
| V | (< 0.190%)
| Ti | (< 0.0100%)
| Co | (< 0.350%)
| Sn | (< 0.0100%)
| B | (< 0.0060%)
| Ca | (< 0.0020%)
| Nb | (< 0.0300%)
| Zr | (< 0.0200%)
| Zn | (< 0.0300%)
| N | (< 0.0300%)
Participant´s comments / Poznámky účastníka :
Please mention below any comment concerning conditions that may have affected your results in the PT 32/6A: